* **Current fire station built in 1952**
	+ **Smaller fire trucks / no vehicle maintenance area**
		- New trucks taller and wider / 12 ft high x 8 ½ ft wide / 2 vehicles currently stored in tents
		- Current doors 11 feet / new doors 14 feet
		- 6 bays for current apparatus and maintenance
		- Engine 2,4,5,6 / Ladder 1,2 / Squad 1,2 / Fire Alarm / Car 2 / Boat
	+ **Insufficient diesel exhaust removal system / not provided for all vehicles**
		- Plymo vent system will be provided for all vehicles
		- Vehicle exhaust will be restricted to apparatus bays
		- Also, proper storage for PPE / 2 sets / off gases for 4 hours
	+ **No administrative space / administrative assistant / fire prevention**
		- Administrative assistant office
		- Fire prevention office / plan review / issue permits
		- Office space / training, ems, medical, arson investigation
	+ **Insufficient living quarters / no accommodations for female firefighters**
		- Two person dormitories / extra accommodations for emergency hold overs
		- Female dormitories and locker room
		- Fire officers dorm / office / incident reports
	+ **Unhealthy building / no HVAC / firefighter illness in winter**
		- New HVAC
	+ **No public restroom facilities**
		- Will be provided in lobby and fire station / ADA compliant
	+ **No training facilities**
		- Shared training room / Mass. Fire Academy classes 35-50 seats
		- EMS weekly training
		- Joint training classes
		- LEPC / REPC training exercises
	+ **Emergency operation center / currently in Town Hall / insufficient facilities**
		- Emergency Operations Director is responsible for EOC
		- Training room also serves as EOC and community room